## Sheet1
Pennsylvania EDEWG Web Portal Working Group
WSDL Solution - Special Use Cases
Item | Description | Data Level | Expected Result | Comments/Questions
Daylight Savings Time | Reporting of change in Daylight Savings Time (DST) | Account & Meter | Transaction will report DST change consistently in the same Usage Data loop: Spring DST Change 60 Min Increment 30 Min Increment 15 Min Increment IU0100 IU0130 IU0145 IU0200 IU0200 IU0200 IU0400 IU0330 IU0315 IU0500 IU0400 IU0330 Fall DST Change 60 Min Increment 30 Min Increment 15 Min Increment IU0100 IU0130 IU0100 IU0200 IU0200 IU0115 IU0200D IU0130D IU0130 IU0300 IU0200D IU0145 IU0230 IU0200 IU0115D IU0130D IU0145D IU0200D IU0215 | 2/9/16-WPWG reviewed. No objections to DST readings using a different tag <IU0200> vs. <IU0200D>. Doug @ PPL will review the expected formats and provide examples. There was some discussion relative to the DST reads being sent in order instead of at the end of IU Data loop. Group will review examples during the next meeting before further ordering discussion.
Meter Exchange | EDC exchanges meter during a reporting period. | Meter | Transaction will report old and new meter information in separate <IUMeter> data loops. | 2/9/16 - WPWG reviewed. The example provided last month reflects the expected result. No flag/value is necessary to denote the meter exchange event.
Interval Increment Change | EDC changes Interval Data Increment (Ex. 60 minute to 30 minute reads) | Account & Meter | Transaction will report both Interval Data Increments in separate <IUAccount> data loops with appropriate Interval <IU60Minute> & <IU30Minute> and no gap between the loops. Ex: Last read of 60 minute is 1500, the first read of 30 minute loop would be 1530. | 2/9/16 - WPWG reviewed. The example provided last month reflects the expected result.
Net Metering | Reporting of customer generation | Account & Meter | Transaction will utilize appropriate net metering qualifiers to denote an interval reading is generation vs. consumption. <QIhhmm> element values '87' or '9H' | 2/9/2016 - WPWG reviewed. In January the consensus was to adopt the QTY qualifiers used in the EDI 867. These include values which denote customer generation.
Billing Usage Adjustment | EDC requires EGS to apply adjustment to usage data to determine billed KH. | Account & Meter | Similar to EDI where EDC requires adjustment to usage data to determine customer's billed KH. In EDI these values are found in the MEA**CO (Transformer Loss Factor) and MEA**ZA (Power Factor) segments. | 2/9/16 - WPWG reviewed. May apply to only one EDC. That company will report back during next meeting. 2/16/16 - FirstEnergy provided update stating the portal information is derived from their Meter Data Management system. The billing adjustments while applied to EDI will not be applied to the web portal data. Group did not object.
Meter Multiplier Change | EDC exchanges meter during a reporting period (meter level data) | Meter | Similar to EDI where EDC requires adjustment to usage data to determine customer's billed KH. In EDI these values are found in the MEA**CO (Transformer Loss Factor) and MEA**ZA (Power Factor) segments. | 2/9/2016 - WPWG reviewed. The consensus was to adopt similar handling as above in the Meter Exchange and Interval Increment Change. The <IUMeterData> will be looped for each Meter Multiplier value. Doug @ PPL will provide an example.