| Inspection Report |  |  |  |  | Post Inspection Memorandum |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspector/Submit Date: |  |  |  |  | NC Required? Inspection Tracking # : NC Tracking # : |  |  |  |  |  |  |  |  |  |
| Name of Operator: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Unit(s): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Records Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commodity: Natural Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspection Type: (records, field or records and field) |  |  |  |  |  |  |  | Inspection Date(s): |  |  |  |  |  |  |
| PUC Representative(s): |  |  |  |  |  |  |  | Field Days: |  |  |  |  |  |  |
| Persons Interviewed |  |  |  | Titles |  |  |  |  |  | Phone No. |  |  |  |  |

| PA ONE CALL INFORMATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| One Call # | One Call Location | Marked Date | Legal Dig Date | Karl Response | List any Locate Issues Found | Locator who Performed Original Locate |

| .605(a) | DAMAGE PREVENTION PROGRAM PROCEDURES | S | U | N/A | N/C |
| --- | --- | --- | --- | --- | --- |
|  | .614 Participation in a qualified one-call program, or if available, a company program that complies with the following: |  |  |  |  |
|  | (1) Identify persons who engage in excavating |  |  |  |  |
|  | (2) Provide notification to the public in the One Call area |  |  |  |  |
|  | (3) Provide means for receiving and recording notifications of pending excavations |  |  |  |  |
|  | (4) Provide notification of pending excavations to the members |  |  |  |  |
|  | (5) Provide means of temporary marking for the pipeline in the vicinity of the excavations |  |  |  |  |
|  | (6) Provides for follow-up inspection of the pipeline where there is reason to believe the pipeline could be damaged |  |  |  |  |
|  | (i) Inspection must be done to verify integrity of the pipeline |  |  |  |  |
|  | (ii) After blasting, a leak survey must be conducted as part of the inspection by the operator |  |  |  |  |
|  | Did the utility follow its it’s damage prevention program |  |  |  |  |

Summary of inspection:

Comments and Findings include any violations found, clarify all U, N/A and N/C checked; Note: PA Act 287 One Call Law cannot be cited but use 192.614 and company’s procedures:

Click icons to add pictures and do OQ Protocol 9 where possible.